## Slide 1: Setting up an ibutton
Start viewer
Determine mission parameters
Set the clock.
Set the time alarm.
Set the sample rate.
Set the temperature/humidity alarm.
Set the mission start delay.
Check when mission will end; select data rollover or not.

## Slide 2: ibutton diagram
i/o or “lid”

## Slide 3: Temp calc
DS1921H
DS1922X

## Slide 4: Ref: OneWireViewer and iButton Quick Start Guide
https://www.maximintegrated.com/en/app-notes/index.mvp/id/4373
TUTORIAL 4373 | 
OneWireViewer and iButton Quick Start Guide | 

## Slide 5: Start onewire viewer

## Slide 6: Ref: OneWireViewer Tips and Tricks
APPLICATION NOTE 5057 | 
OneWireViewer Tips and Tricks | 
https://www.maximintegrated.com/en/app-notes/index.mvp/id/5057

## Slide 7: Polling rate
https://www.maximintegrated.com/en/app-notes/index.mvp/id/5057

## Slide 8: Check real-time temp

## Slide 9: Synch clock to comp

## Slide 10: Ref: Determining the Mission Parameters for Temperature Logger iButton® Devices
APPLICATION NOTE 5335 | 
https://www.maximintegrated.com/en/app-notes/index.mvp/id/5335
Determining the Mission Parameters for Temperature Logger iButton® Devices

## Slide 11: Thermochron tab

## Slide 12: Select mission parameters

## Slide 13: Extracting data
Ref: https://www.maximintegrated.com/en/app-notes/index.mvp/id/3809
APPLICATION NOTE 3809 | 
Exporting DS192x Logger Data from the OneWireViewer into Excel | 

## Slide 14: Lifetime of each iButton