Contents

[Buffers 1](#_Toc505583583)

[PTx.2% (1L) 1](#_Toc505583584)

[PTwH (1L) 1](#_Toc505583585)

[Blocking/Permeabilizing Solution (50mL) 1](#_Toc505583586)

[Secondary antibodies 2](#_Toc505583587)

[Sample Collection 2](#_Toc505583588)

[Immunolabeling 2](#_Toc505583589)

[Clearing tissue 3](#_Toc505583590)

[Tissue check 3](#_Toc505583591)

[Antibodies tested 3](#_Toc505583592)

[Light Sheet Imaging 3](#_Toc505583593)

[Quantification 4](#_Toc505583594)

[References 4](#_Toc505583595)

|  |  |
| --- | --- |
| Tissue | Estimated completion time  (sack to image) |
| Whole Brain (Klingberg) | 25 days |
| Half Brain (Klingberg |  |

# Buffers

### PTx.2% (1L)

* 100mL PBS 10X (900mL H2O)
* 2mL Tween20 (iDISCO uses tritonX)

### PTwH (1L)

* 100mL PBS 10X
* 2mL Tween-20
* 1mL of 10mg/mL Heparin stock solution

### Blocking/Permeabilizing Solution (50mL)

* 42mL PTx.2%
* 3mL of Donkey Serum
* 5mL of DMSO
* 0.1% Sodium azide (0.05 g)
* raise to 1% Tween20 (add 0.4mL)

# Secondary antibodies

Do not use chemical dyes, use ALEXA dyes or fluorescent proteins only (communication with Klingberg)

# Sample Collection

1. Anesthetize the mouse.

2. Perfuse with 10mL PBS.

3. Perfuse with 10mL 4%PFA/PBS.

4. Dissect the brain/organ and trim to the appropriate size.

5. Fix in 1xPBS/4%PFA at 4°C, 48hr with rocking.

6. Wash in PBS with shaking: RT 30min x 3times.

# Immunolabeling

After fixation and wash:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Tissue | Bleach 5% H2O2 in PBS1 | Block/Perm soln | 1° antibody, in Block soln | 2nd antibody, in Block soln w/o Gt serum |
| Whole Brain (Klingberg) | O/N rock, wash PTx.2% | 7 days rock @ RT | 7 days rock, wash PTwH @ RT 3x then O/N | 2 days rock, wash PTwH @ RT 3x then O/N |
| Whole Brain (iDISCO+) |  | 2 days |  | 2 days |

1. Bleach in fresh 3%H2O2 in PBS (1 volume 30% H2O2 to 5 volumes PBS), overnight at RT°C.
2. For each vial, make to 6 mL total volume.

Nutating rocker (<https://www.fishersci.com/shop/products/nutating-mixer-fixed-speed120v/88861041>):



From Blocking step on, use light shield.

# Clearing tissue

After immunolableing:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Tissue | 35% EtOH + 2% Tween (pH 9) | 70% EtOH + 2% Tween (pH 9) | 2x 100% EtOH + 2% Tween (pH 9) | 2x 100% ECi |
| Whole Brain (Klingberg) | 24hr | 24hr | 24hr each | 4hr then O/N each |
| Whole Brain (iDISCO+) |  |  |  |  |

Eg. Make 6mL/vial 🡪 8mL EtOH + 2mL Tween

# Tissue check

How clear does it look?

Attempt #1 on 121817 🡪 Yellowish



Attempt #2 on 2/12/18 🡪 bleach + minimize air in tubes (6.5mL)



# Antibodies tested

Primaries:

* Tyrosine hydroxylase: 1:100 in 6 mL vial 🡪 60 uL/vial
* AT8-human p-tau 🡪 (attempt after TH)

Secondaries:

* Secondary Gt Anti-Rb AlexaFluor 647: 1:100 in 6 mL vial 🡪 60 uL/vial

# Light Sheet Imaging

Defer to Sijie and Nikos

# Quantification

Learn clearmap (but I’ll most likely need access to the Microscopy Core’s server to run a python script):

<https://rawgit.com/ChristophKirst/ClearMap/master/docs/_build/html/index.html>

Test on trial dataset first (Allen Institute Mouse ref brain).

# References

* Klingberg et al., Fully Automated Evaluation of Total Glomerular Number and Capillary Tuft Size in Nephritic Kidneys Using Lightsheet Microscopy, 2017.
* Renier et al., Mapping of Brain Activity by Automated Volume Analysis of Immediate Early Genes, 2016.
* Renier et al., iDISCO: a simple, rapid method to immunolabel large tissue samples for volume imaging, 2014.
* <https://idiscodotinfo.files.wordpress.com/2015/04/whole-mount-staining-bench-protocol-methanol-dec-2016.pdf>