## Slide 1
1 GND | 2 EEG2 (EMG) | 3 EEG3 (M1, twisted)
4 COMM | 5 EEG1 (RPC) | 6 EEG3 (M1, twisted)
Location | Bregma | Midline
M1 | +1.1 (anterior) | ±1.5 (lateral)
Parietal | -2 (posterior) | +1.5 (lateral, right only)
EMG | Nuchal musc | 
Pin-out
Stereotaxic Coordinates
Bregma
Lambda
❶
❷
❸ ❻
❹
❺
Implant Map
Pinnacle 3-Channel layout
Nuchal muscle
White out
*
*
Anchor screw
*
Adjust ratio